WHEN FIRE ALARM SOUNDS

- Reception advise via radio giving building where alarm sounding and advise all caretakers and maintenance staff to attend and advise all radio traffic now dedicated to fire incident only

- FIRE MARSHAL identifies themselves to all via radio

- Open Premises Information Box

- Put on FIRE MARSHAL jacket

- Maintenance Electrician will collect keys and go to panel to identify exact location of fire and await instruction from FIRE MARSHAL

- FIRE MARSHAL DUTIES:

  - Appoint deputy to Fire MARSHAL to log all actions taken and Fire Wardens reports (yellow jacket – one per assembly point)

  - Two people to location of fire and report via radio

  - Look for signs of fire externally

  - Appoint someone to observe and monitor REFUGE panel

  - Establish if Fire Brigade should be called and instruct reception to do so/or not

  - Monitor each fire exit using Fire Wardens/Estates Staff

  - Identify available Evac chair operators

  - Instruct Car park attendants if Fire Brigade called and give location for them to be directed to – ensuring all access gates are opened

- If fire in progress, await Fire Brigade attendance and assist as required.  Ensure access route clear of staff and students

- If no fire in progress, instruct Electrician to silence bells and reset alarms when confirmed building is empty

- Give instruction to allow people to return to building

- Ensure all details recorded in fire log (kept in Poole House reception).  Electrician or Fire Brigade attended, zone etc

- Send evacuation check sheets to the University Fire Officer