|  | Festive and Christmas Decorations Fire Safety Guidance |  |
| --- | --- | --- |

Festive decorations - What you need to know

|  | Natural Christmas Trees – quickly dry out in the buildings warm atmosphere becoming a high fire load which propagates fire rapidly – Watch the YouTube links below; Candles - candles, including birthday cakes, aromatherapy or any other type of burners are not permitted in BU Buildings. Not only are these candles and burners an obvious fire risk but smoke from these items is likely to cause an unwanted fire alarm activation, building evacuation and the fire brigade attending; Decorations – any decorations, such as tinsel, etc., must be located away from heat and ignition sources, such as light fittings, heaters and electrical equipment; Decorations - displays must never be located in escape routes, protected corridors, staircases or lobbies; Decorations - displays must never impede the Means of Escape from the premises; Decorations - there should be no decorations located in hazard areas, such as laboratories; Decorations - which are combustible, should not be strung over corridors and stair ceilings; |
| --- | --- |
|  | Artificial Christmas Trees - are permitted on BU premises, but these must be labelled or marked as ‘Fire Retardant’; Artificial Christmas Trees - fire retardant artificial Christmas trees located in offices, receptions and areas NOT forming part of the Means of Escape from the premises; Decorations - located in offices in a suitable manner (away from ignition sources); Festive Lights - are permitted on BU premises, but they have been manufactured in accordance with BS EN 60598; Festive Lights - low heat LED lights located in offices, only switched on during office hours - never left on ‘out of working hours’ or when staff are not in attendance; Festive Lights - any festive lights should be checked periodically to ensure that they are not over-heating (it must be possible to touch them without being burnt); Risk Assessment - all decorations and displays must have been risk assessed locally by Executive Deans/Directors of Professional Services or general staff; Remember - the fire and building regulations provide strict controls on fire spread and combustibility on surfaces of stairs, corridors and ceilings with any design have safety of occupation at the forefront. Because it is Christmas or a festival, these requirements MUST not be ignored but in fact become more important in their implementation. |

Christmas tree fires YouTube - https://www.youtube.com/watch?v=ZLHhG65fLeY

Christmas tree fires YouTube - https://www.youtube.com/watch?v=t_eHBqVYa8A

Contents

1.0. Introduction

2.0 Mandatory Rules for Decorations

3.0 Risk Assessment of Decorations and Displays

4.0 Acceptable Decorations

5.0 Further Information

1.0. INTRODUCTION

1.1. This Technical Note is designed to provide information relating to BU fire safety policies on decorations and activities in BU buildings. Festive Decorations have the potential to introduce new hazards into the workplace and a sensible approach is required to ensure that any risks are managed and mitigated, as far as is reasonably practicable.

1.2 BU has an obligation to control risks associated with festive decorations to maintain a safe work and study environment during festive periods.

1.3 Decorations are often introduced into buildings by staff and students during festive periods such as Christmas, or traditional religious celebrations. Where this is the case, Executive Deans/Directors of Professional Services, Fire Wardens (FWs) and staff will need to make sure that fire safety standards are maintained and not compromised.

2.0 MANDATORY RULES FOR DECORATIONS

2.1 The following rules are a mandatory requirement within BU buildings:

- Natural Christmas trees are not permitted in BU premises;

- Candles or burners (or similar) are not permitted in BU premises;

- All decorations and displays must have been risk assessed locally through  the Executive Deans/Directors of Professional Services;

- Decorations and displays must never be located in protected escape routes which include corridors, staircases and lobbies;

- Decorations and displays must never place an unacceptable fire load in the means of escape from the premises.

2.2 Building Control Authorities

2.3 Remember, the fire and building regulations provide strict controls in the design of fire spread and combustibility on surfaces of stairs, corridors and escape routes to protect occupants. Just because it is Christmas or a festival, these requirements should not be ignored and in fact, they are more important.

3.0 RISK ASSESSMENT OF DECORATIONS AND DISPLAYS

3.1 All decorations and displays must have been risk assessed and suitable control measures introduced to minimize the risk of fire.

3.2 More specifically, the following is to be considered:

- Natural trees will ignite very readily and burn intensely assisted by any decorations it has been dressed with – they should not be used on BU premises;

- If artificial Christmas trees are located on BU premises, these must bear a label marked ‘Fire Retardant’;

- If festive lights are located on BU premises, it must be confirmed that these have been manufactured in accordance with BS EN 60598;

- Any festive lights should be checked periodically to ensure that they are not over-heating (it must be possible to touch them without being burnt);

- If festive lights are used, power cables should be visually inspected periodically and confirmed to be in good condition, plugs are properly inserted into sockets,

- inappropriate extension leads are not used, no

- bulbs have blown, and a regime is in place to ensure that lights are switched off when unattended;

- Any decorations, such as tinsel, etc., must be located away from heat and ignition sources, such as light fittings, heaters and electrical equipment;

- There should be no decorations located in hazard areas such as laboratories;

- Combustible decorations which are not fire rated, should not be strung over means of escape corridors, stairs and ceilings;

3.3. Christmas Trees

- If you are going to display a tree, select an artificial one that is flame retardant. Make sure your tree is secure and cannot fall over;

- Position the tree so that it does not block exit routes, fire notices, fire alarm call points or firefighting equipment;

- Never use candles as tree decorations;

- Use tree decorations that are flame retardant;

- Use appropriate steps or other similar means of access when decorating (if your tree is large);

- If you are using decorative snow, foam or glitter take care that they are not sprayed near sources of ignition and that the can is disposed of in accordance with the instructions (aerosols very often contain highly flammable gas as expellant);

3.4. Decorative Lights

- Lights should be stamped with a CE mark and should comply with BSEN 60598-2-20;

- Check that they are fitted with the right size fuse;

- Check that the lights are in good condition before they are used;

- Check that the plug and cabling on the lights are not damaged;

- Dispose of any lights that are damaged. If you are unsure of the condition of the lights discard them and buy new ones;

- Never attempt to join two sets of lights together or put two sets of lights on the same plug. Use a multi socket extension lead that is clearly marked with a CE mark;

- It is recommended that a residual current device is used with all lights. Always choose lights that are fitted with a transformer;

- Choose the smallest type of lights you can - these will produce less heat. If larger lights are required, ensure they are fitted with some type of reflector - a bare bulb should not be showing;

- Make sure cables are routed safely and do not create a trip hazard. Avoid placing the light cables under carpets or rugs;

- Always unplug lights at the end of the working day and if you need to change bulbs.

4.0 ACCEPTABLE DECORATIONS

4.1 Subject to the previous provisions having been undertaken, the following would be considered reasonable:

- Decorations located in offices in a suitable manner (away from ignition sources);

- Low heat LED lights located in offices, only switched on during office hours;

- Fire retardant artificial Christmas trees located in offices;

- Displays and decorations checked by appropriate staff on a regular basis;

5.0 FURTHER INFORMATION

5.1 For any further information relating to BU fire safety standards, please go to:

https://staffintranet.bournemouth.ac.uk/workingatbu/healthsafetywellbeing/hs&fire/fire/

Or contact BU Fire Safety Officer for additional advice.

# Text boxes

Title: 			Fire Safety Guidance – Christmas Trees and Decorations

Keywords: 	Christmas, Decorations, trees

Description:		Guidance for staff and students regarding Christmas decorations

Publish Date: 		Dec 2016

Review Date:		June 2025

Expiry Date: 		N/A

Policy Owner:		BU Fire Safety Officer

Audience:		Staff & Students

Prohibited

Permitted