## Lansdowne meter info
BU Meter Ref | Site name | Serial Number | Meter Category | Room number | Description of location | Getting access (Number/Salto/key holder/ lifters required) | Billing/sub meter | Source type | MPAN | Units
RLH-E-01 | Royal London House | P07C00099 | A | RGP4 | Ground floor Main Switch Room | ASSA Master key | Billing | Electric | 2000054344581 | kWh
RLH-W-01 | Royal London House | 94A578475 | A | RBP1 | Basement Tank Room | Collect from Studland House Reception | Billing | Water |  | m3
SH-E-01 | Studland House | P11C06273 | A | SGP3 | Back of the building Main Intake Room | Salto | Billing | Electric | 2000027442191 | kWh
SH-G-01 | Studland House | 8006956S | A | External | Box located on the right side of the front of the building entering the rear carpark in cupboard | Collect from Studland House Reception (Gas meter key) | Billing | Gas | 82074807 | ft3
SH-W-01 | Studland House | 96A067124 | A | SBP2 | Basement | Access in Basement. Door code: C1230X | Billing | Water |  | m3
BH-E-01 | Bournemouth House | P03C04786 | A | BBP11 | Basement | Collect from Bournemouth House Reception | billing | Electric | 2000027442243 | kWh
BH-G-01 | Bournemouth House | M025A0087013D62013 | A | BBP6 | Basement | Collect from Bournemouth House Reception | billing | gas (catering) | 1793909 | m3
BH-G-02 | Bournemouth House | 930099 | A | BBP6 | Basement | Collect from Bournemouth House Reception | billing | gas (heating) | 1793808 | ft3
BH-W-01 | Bournemouth House | 515751/08 | B* | BBP5 | Above entrance to BBP6, Basement | Collect from Bournemouth House Reception | sub | water |  | m3
BH-W-02 | Bournemouth House | 0 9A064407 | A | External | External | Lifters required | biling
EBC-E-01 | Executive Business Centre | 0 7047489 | A | EBGP6 | Ground floor,electrical riser at back of kitchen | ASSA Master key | billing | electric (catering) | 2000054304134 | kWh
EBC-E-02 | Executive Business Centre | P07C02491 | A | EBGP5 | Ground floor, off corridor to the left of reception | ASSA Master key | billing | electric (landlord) | 2000054188568 | kWh
EBC-E-03 | Executive Business Centre | P08C00631 | A | EBGP5 | Ground floor, off corridor to the left of reception | ASSA Master key | billing | electric (tenant) | 2000054469208 | kWh
EBC-W-01 | Executive Business Centre | 11002118 | B* | EBGP3 | Ground floor, off corridor to left of reception | ASSA Master key | sub | water |  | m3
MH-E-01 | Melbury House | P03C03881 | A | MGP6 | External, back of the building, second door along | Key inside white cupboard at entrance of MH (Code: 3458Z) Named as Key 33, Electrical cupboard | billing | electric | 2000053090365 | kWh
MH-G-01 | Melbury House | 21059743 | A | MGP5 | External, back of the building, First door along | ASSA Master key | billing | gas | 9156769510 | m3
MH-W-01 | Melbury House | 11001728 | B* | MGP7 | External, back of the building, third door along | Key inside white cupboard at entrance of MH (Code: 3458Z) Named as Key 34, Water Tank Cupboard | sub | water |  | m3
FS-E-01 | Old Firestation | P03C04783 | A | FSGP1 | ground floor | Collect from Studland House Reception, If meter cupboard locked contact TOFS Manager. If venue is locked you will need Alarm code. | Billing | Electric | 2000027442340 | kWh
FS-G-01 | Old Firestation | 8012228S | A | External | Right hand side- rear compound | No key required | Billing | Gas | 68101802 | ft3
FS-W-01 | Old Firestation | 15101274 | B* | FSGP1 | ground floor | Collect from Studland House Reception, If meter cupboard locked contact TOFS Manager | sub | Water |  | m3

## Old Firestation
BU Meter ref | Building name | Serial No | Unit | 2017-08-01 | 2017-09-01 | 2017-09-29 | 2017-10-27
FS-E-01 | Old Firestation | P03C04783 | kWh | 771463 | 778910 | 793338 | 813151
FS-G-01 | Old Firestation | 8012228S | ft3 | 251857 | 252113 | 252372 | 252651
FS-W-01 | Old Firestation | 15101274 | m3 | 5294 | 5302 | 5445 | 5696

## Executive Business Centre
Building name | BU Meter ref | Serial No | Unit | 2017-08-01 | 2017-09-01 | 2017-09-29 | 2017-10-27
Executive Business Centre | EBC-E-01 | 0 7047489 | kWh | 628310 | 633483 | 638039 | 643779
Executive Business Centre | EBC-E-02 | P07C02491 | kWh | 1620280 | 1632240 | 1642200 | 1654470
Executive Business Centre | EBC-E-03 | P08C00631 | kWh | 750193 | 779588 | 805164 | 837484
Executive Business Centre | EBC-W-01 | 11002118 | m3 | 16915 | 17055
Executive Business Centre | EBC-W-01 | TBC? | m3 |  |  | 193 | 482
Note on F5: Meter replaced final read 17055

## Bournemouth House
BU Meter ref | Building name | Serial No | Unit | 2017-08-01 | 2017-09-01 | 2017-09-29 | 2017-10-27
BH-E-01 | Bournemouth House | P03C04786 | kWh | 6638420 | 6664590 | 6691740 | 6749630
BH-G-01 | Bournemouth House | M025A0087013D62013 | m3 | 994 | 994 | 994 | 996
BH-G-02 | Bournemouth House | 930099 | ft3 | 86774850 | 86797858 | 8681687 | 8694983
BH-W-01 | Bournemouth House | 515751/08 | m3 | 14774 | 14785 | 14868 | 15059
BH-W-02 | Bournemouth House | 09A064407 | m3 | 11926

## Royal London House
BU Meter Ref | Building name | Serial No | Unit | 2017-08-01 | 2017-09-01 | 2017-09-29 | 2017-10-27
RLH-E-01 | Royal London House | P07C00099 | kWh | 4605180 | 4620390 | 4637590 | 4666750
RLH-W-01 | Royal London House | 94A578475 | m3 | 62598 | 62692 | 62790 | 62916

## Melbury House
BU Meter Ref | Building name | Serial No | Unit | 2017-08-01 | 2017-09-01 | 2017-09-29 | 2017-10-27
MH-E-01 | Melbury House | P03C03881 | kWh | 1889990 | 1935380 | 1970130 | 2008860
MH-G-01 | Melbury House | 21059743 | m3 | 192460 | 192596 | 192787 | 192910
MH-W-01 | Melbury House | 11001728 | m3 | 6753 | 6893 | 7042 | 7199
34750
191
149

## Studland House
BU Meter Ref | Building name | Serial No | Unit | 2017-08-01 | 2017-09-01 | 2017-09-29 | 2017-10-27
SH-E-01 | Studland House | P11C06273 | kWh | 3802350 | 3853170 | 3897370 | 3951590
SH-G-01 | Studland House | 8006956S | ft3 | 404659 | 404659 | 404660 | 404792
SH-W-01 | Studland House | 96A067124 | m3 | 41706 | 41823 | 41927 | 42110